Accessible Parking Maintenance Plan

Organization Name: Acadia University

Effective Date: 1 April 2026

Last Updated: 25 March 2026

Purpose

The purpose of this plan is to ensure that all accessible parking spaces on Acadia University campus always remain available, accessible and identifiable. This plan is developed in accordance with Section 28 of the of the Built Environment Accessibility Standard Regulations under the Accessibility Act.

Identification of Accessible Parking Spaces

| Accessible parking spaces designated for use by persons who have an accessible parking permit on Acadia University campus Parking Lot | Accessible Parking Spaces |
| --- | --- |
| Arena | 10 |
| Divinity Lot | 5 |
| University Ave South | 1 |
| University Ave North | 3 |
| BAC East | 3 |
| BAC North | 3 |
| Huggins West | 2 |
| Horton West | 1 |
| War Memorial House East | 2 |
| Crowell Drive | 5 |
| Festival Theatre | 2 |
| Wheelock East | 4 |
| Cutten West | 1 |
| Physical Plant Compound | 2 |
| University Club | 2 |
| Denton Hall | 1 |
| Seminary House | 2 |
| Eaton House | 1 |
| Alumni Hall | 2 |
| Raymond South | 1 |
| Carnegie | 2 |

Accessibility Responsibility

The Facilities Director has authority to initiate corrective actions, engage contractors, and restrict certain uses if required to maintain safety and accessibility of parking spaces and related pathways and infrastructure.

Maintenance Protocols

To ensure these parking spaces and related pathways and infrastructure remain accessible, the following actions will be taken:

| Frequency | Action Required | Responsible Party |
| --- | --- | --- |
| Daily | Unobstructed Pathway Visual inspection of accessible pathways and access aisles to parking areas for water, cracks, litter, parked vehicles, etc. and removal of these obstructions. Repair as needed. | Safety and Security |
| Annually | Accessibility Features Ensure all accessibility elements are functional and undamaged, such as pedestrian pathways, parking areas, lighting of pathways (50 lux average), accessible parking signs (1500 mm above ground) throughout the area, pavement markings and Tactile Attention Indicators, and curb ramps. Repair or replace as needed. | Accessibility Manager/Physical Plant |
| Inclement Weather | Snow and Ice Removal Removal of ice/snow from accessible parking and pathways. Priority clearing of pathways before non-accessible pathways and apply traction materials. Verification that tactile surfaces and curb ramps along accessible pathways remain detectable and unobstructed. Confirmation that traction materials do not reduce tactile detectability. | Physical Plant |
| As Needed | Painting of Lines and Symbols Paint accessible parking space lines and accessibility symbols if these are faded or not identifiable. | Accessibility Manager/Physical Plant |

Reporting and Remediation

If an obstructed pathway, non-functional or damaged accessibility feature, snow or ice cover, or faded accessible parking line or accessibility symbol is identified:

- Immediate Action: Action will be taken immediately to remedy the situation.

Notification: If the action cannot be taken immediately (e.g., structural damage), a sign must be posted to identify an accessible detour route from the entrance of the parking area if the accessible pathway from the parking space is not safe to access or to identify the accessible parking space if it is not identifiable.

Contact: Report issues to Physical Plant by email to physical.plant@acadiau.ca or by phone 1-902-585-1444, 8:00 am to 4:30 pm Monday through Friday or call Security after hours and on weekends and holidays at 902-585-1103.

Documentation and Staff Training

Documentation

Acadia University will keep records to demonstrate their commitment to maintaining accessibility parking spaces. Records may include inspection logs, maintenance and repair activities, reported problems and corrective actions, and periods of temporary inaccessibility. Records will be retained for one (1) year and made available upon request for review or audit purposes.

Staff Training

Staff and contractors responsible for operations, maintenance, or snow and ice control will receive training about maintaining accessible parking spaces. Training will cover identification of accessible parking spaces, recognition of common problems, and procedures for inspection, reporting, and corrective action. Training will be provided upon onboarding and refreshed as needed.

Public Availability

This plan is made publicly available as follows:

Website: https://www2.acadiau.ca/accessibility.html

Physical Location: n/a

Alternative Formats: Contact accessibility@acadiau.ca to request this plan in another format.

Plan Review and Approval

Facilities Management

Name: Click or tap here to enter Name.

Position: Click or tap here to enter Position.

Date: Click or tap to enter a Date.